Health and Safety - Fire safety and emergency evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety Consultant.

Procedures

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- The manager has received training in fire safety sufficient to be competent to carry out risk assessment. This follows the guidance as set out in the Fire Safety Risk Assessment – Educational Premises document.

- Apsley LockPre-School is ai n rented premise and we have a copy of the fire safety risk assessment that applies to the building and we contribute to regular reviews.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BSEN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly at least once every six weeks.

- Records are kept of fire drills and the servicing of fire safety equipment.

Emergency evacuation procedure

We ensure that;

- The children are familiar with the sound of the fire alarm and the procedure to follow.

- The children, staff and parents are informed of where the fire exits are.

- The children hold onto a rope with staff member supervision and are led from the building to the assembly point. The officer picks up the telephone, register and contact details when exciting.

- The fire officer Lucy Peters takes the daily attendance register.

- A written record is kept taking note of the time, date and how long it takes to get the children out safely.

- The fire officer/manager calls the emergency services in the event of a real fire.

- Parents are contacted by telephone in the event of a fire.

The fire drill record book contains:

- Date and time of the drill.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

| This policy was adopted at a meeting of | Apsley Lock Pre- School |  |
| --- | --- | --- |
| Held on | January 2021 |  |
| Date to be reviewed | Annually |  |
| Signed on behalf of the management committee |  |  |
| Name of signatory | Andrew Jones |  |
| Role of signatory (e.g. chair/owner) | Chair |  |

Fire safety and emergency evacuation

| Date reviewed/updated | Signature Pre-school Leader/Manager |
| --- | --- |